## Sheet1
Column Name | Description
the_geom | polygon geometry (SRID 3310)
cartodb_id | numeric ID automatically set by CARTODB
site_id | Site ID corresponding to the map pop-up information for Eligible Sites
circuit_name | Nearest distribution circuit, name defined by Southern California Edison (SCE)
sub_name | Substation name defined by Southern California Edison (SCE), linked by nearest distribution circuit
sys_name | System name defined by Southern California Edison (SCE), linked by nearest distribution circuit
circuit_distance | Total distance of eligible institutional site from distribution circuit (meters)
existing_gen | Existing generation connected to the distribution circuit (MW)
queued_gen | Generation that will be connected to the distribution circuit (MW)
total_gen | Combined total of existing generation and queued generation (MW)
projected_load | Projected load (MW)
penetration_level | Current penetration level (MW)
max_remain_cap | Maximum remaining capacity (MW)
percent_15_cap | 15% Penetration Capacity (MW-AC) of the circuit serving the site. Importance dictated by Rule 21, the total combined nameplate capacity of all generation assets connected to each distribution circuit must not exceed 15% of the historical maximum load experienced on that circuit over the previous 18 months.
existing_solar_mw | Existing in front of the meter solar generation (MW-AC)
total_rooftop_area_sqft | Total rooftop area (sqft) of institutional site
suitable_rooftop_area_sqft | Total rooftop area (sqft) of institutional site considered suitable for solar PV
rooftop_solar_potential_mw | Rooftop solar nameplate solar generation potential (MW-AC)
total_parking_lot_area_sqft | Total parking lot area (sqft)
suitable_parking_lot_area_sqft | Parking lot area (sqft) suitable for solar
parking_lot_solar_potential_low_mw | Low level estimate of available parking lot area solar PV nameplate solar generation potential (MW-AC)
parking_lot_solar_potential_high_mw | High level estimate of available parking lot area solar PV nameplate solar generation potential (MW-AC)
combined_solar_potential_low_mw | Combined total of the low estimate of parking lot generation potential and rooftop solar generation potential (MW-AC)
combined_solar_potential_high_mw | Combined total of the high estimate of parking lot generation potential and rooftop solar generation potential (MW-AC)
zipcode | Zip code location of institutional site
proportion_zip | Proportion of geometry located within the zip code
city_name | City location of institutional site
proportion_city | Proportion of geometry located within the city
cpa_territory | Institutional site located within service territory boundaries for the Clean Power Alliance (CPA)
proportion_cpa | Proportion of geometry in CPA territory
parking_lot_solar_annual_output_low_mwh_ac | Low level estimate of available parking lot area annual solar PV generation potential (MWh AC)
parking_lot_solar_annual_output_high_mwh_ac | High level estimate of available parking lot area annual solar PV generation potential (MWh AC)
rooftop_solar_annual_output_mwh_ac | Rooftop tolar annual solar PV generation capacity (MWh AC) (Los Angeles County Solar Map)
combined_solar_annual_output_low_mwh_ac | Combine total of the low estimate of parking lot and rooftop solar nameplate generation potential (MWh AC)
combined_solar_annual_output_high_mwh_ac | Combine total of the high estimate of parking lot and rooftop solar nameplate generation potential (MWh AC)
address | Address of institutional site
average_household_size_owner_occupied_housing_units | Average household size of owner-occupied housing units by census block group (ACS)
average_household_size_renter_occupied_housing_units | Average household size of renter-occupied housing units by census block group (ACS)
vacancy_percentage | Percentage of vacant household by census block group (ACS)
renter_percentage | Percentage of renters by census block group (ACS)
total_res_usage_per_cap | Total residential electricity usage (kWh) per capita within census block group (UCLA Energy Atlas)
total_res_usage_per_renter_household | Total residential electricity usage (kWh) by owner-occupied household within census block group (UCLA Energy Atlas)
total_res_usage_per_owner_household | Total residential electricity usage (kWh) by renter-occupied household within census block group (UCLA Energy Atlas)
low_combined_res_usage_offset_capita | Estimate of households within census block group where total electricity usage could be offset by the low estimate combined solar potential
low_combined_res_usage_offset_renter_households | Estimate of renter-occupied households within census block group where total electricity usage could be offset by the low estimate combined solar potential
low_combined_res_usage_offset_owner_households | Estimate of owner-occupied households within census block group where total electricity usage could be offset by the low estimate combined solar potential
high_combined_res_usage_offset_capita | Estimate of households within census block group where total electricity usage could be offset by the high estimate combined solar potential
high_combined_res_usage_offset_renter_households | Estimate of renter-occupied households within census block group where total electricity usage could be offset by the high estimate combined solar potential
high_combined_res_usage_offset_owner_households | Estimate of owner-occupied households within census block group where total electricity usage could be offset by the high estimate combined solar potential
ciscorep | CalEnviroScreen 3.0 Percentile
proportion_ces | Proportion of geometry in CalEnviroScreen Score census tract
sufficient_capacity | Sufficient Grid Circuit Capacity to accommodate PV